## Slide 1
facebook.com/BITalinoWorld
twitter.com/BITalinoWorld
a primer on physiological computing

## Slide 2
Manuel Rocha
Consultor e Programador IT
facebook.com/rocha.manuel

## Slide 3
BIO
SIGNAL

## Slide 4
PHYSIOLOGICAL
COMPUTING

## Slide 5
in the broadest sense, means building systems that incorporate software and hardware capable of sensing and responding to the physiological world

## Slide 6
the easiest body signals to tap into come from the:
nervous, musculoskeletal, circulatory, respiratory, and integumentary systems

## Slide 7
let’s run through a few examples

## Slide 8
EMG | Muscle Signals
collect
where: above any muscle when: 1000Hz how: EMG - voltage issues: motion artifacts, ECG interference, bad grounding, powerline noise
process
onset detection envelope detection noise removal spectral analysis
extract
muscle contraction duration muscular tension activation timing (between muscles)
understand
movement strategies muscle coordination muscle fatigue anxiety level
C.
A.
O.
S.

## Slide 9
ECG | Cardiac Signals
C.
A.
O.
S.
collect
where: chest, hands, or neck when: 250Hz how: ECG - voltage issues: motion artifacts, EMG interference, powerline noise
process
peak detection segmentation noise removal
extract
heart rate/heart rate variability fiducial points annotation R-peak amplitude (modulated by respiration)
understand
stress/concentration level cardiac dysfunctions physical effort

## Slide 10
EDA | Emotional Arousal
C.
A.
O.
S.
collect
where: sweat glands when: 2Hz how: EDA - resistance issues: ambient hear, motion artifacts, powerline noise
process
onset detection noise removal peak detection
extract
event amplitude rise time tonic level
understand
reaction to a stimuli hyperhidrosis arousal level

## Slide 11
Accelerometer | Motion
C.
A.
O.
S.
collect
where: skin surface when: 1Hz how: MEMS - capacitance issues: motion artifacts, natural tremors
process
epoching noise removal spectral analysis
extract
movement patterns step counting tilt/angle
understand
metabolic equivalent of task gestures/posture range of motion

## Slide 14
I want to get physiological… now what?

## Slide 15
BLE
Bluetooth also available
Digital-to-Analog Converter (DAC) | 
Electrodermal Activity (EDA)
sympathetic nervous system
Electromyography (EMG)
muscle activity
Electrocardiography (ECG)
cardiac activity
Power
3.7V Li-Po w/ charger
Micro-controller unit (MCU)
LED
video camera sync
Light Sensor (LUX)
computer screen sync
Electroencephalography (EEG)
brain activity
Pushbutton (BTN)
manual event annotation
Accelerometer (ACC)
motion
Buzzer (BUZ)
audio feedback
Prototyping Board (PRT)
interface for custom accessories
AVR ISP 6-pin header
the most advanced DiY kit for biosignals...

## Slide 16
there’s free software to go with it as well

## Slide 17
programming APIs

## Slide 20
hands-on

## Slide 21
real-time sampling and conversion of the analog sensor outputs to a digital representation

## Slide 22
CAN WE
UPLOAD
OUR OWN
CODE?

## Slide 23
yes, but may be easier to use an Arduino

## Slide 24
HOW
ABOUT
STANDALONE
APPLICATIONS?

## Slide 25
maybe easier with a 3rd party system

## Slide 26
3.3V and 1.65V regulated power supply, with battery charger and voltage information

## Slide 27
WHAT IS
THE BATTERY
LIFE?

## Slide 28
~10h with included battery

## Slide 29
interchangeable Bluetooth communication interface with 115.2k bps transfer rate

## Slide 30
WHAT
OTHER
INTERFACES
CAN YOU
USE?

## Slide 31
any UART-compatible adapter or device
https://www.how.do/guide/bitalino-usb-interfaces

## Slide 32
G. Mathew. “Medical Devices Isolation: How Safe is Safe Enough,” Wipro Technologies, White Paper. 2002.
MAKE SURE YOU ARE DIRECTLY AND INDIRECTLY DECOUPLED FROM A HIGH VOLTAGE SOURCE WHEN USING LOW IMPEDANCE SENSORS

## Slide 33
ANY
ACCESSORY
WITH A VOLTAGE
OUTPUT
CAN BE
USED!

## Slide 34
analog temperature sensor
https://www.how.do/guide/bitalino-a-tmp36-sensor

## Slide 35
tilt switch on a digital input
https://www.how.do/guide/bitalino-a-tilt-switch

## Slide 36
ARE THE
SENSORS
COMPATIBLE
WITH OTHER
SYSTEMS?

## Slide 37
https://www.how.do/guide/bitalinoarduino-basics

## Slide 38
https://www.how.do/guide/bitalino-train-that-tempo

## Slide 39
ALL VERY NICE
BUT I REALLY
WANT A
MINIATURIZED
DEVICE

## Slide 40
imagination is really the limit!

## Slide 41
https://www.how.do/guide/go-freestyle-w-bitalino

## Slide 51
rapid application development

## Slide 53
RAD front end
“batteries-included” backend

## Slide 56
sneak peak of an API

## Slide 58
Import API

## Slide 59
Set Communication
Mode/Address

## Slide 60
API instantiation

## Slide 61
Some Examples
Some Examples

## Slide 62
How to trigger off
LED and Buzzer

## Slide 63
Start Grab Data
From Sensor

## Slide 64
let’s get to work

## Slide 65
http://bit.ly/BITalinoPyAPI
Python API
http://bit.ly/BITalinoCherryPickEx
Python Presentation Example
More Information, Examples and APIs
http://www.bitalino.com

## Slide 66
facebook.com/BITalinoWorld
twitter.com/BITalinoWorld